Guide line for Exposure Factors selection in Film-Screen radiography

Effect of kV, MA & Time

KVP => Energy of x-rays => higher penetrability, it moves through tissue.
The energy determines the QUALITY of x-ray produced.
1. increase in KVP => electrons gain high energy
2. higher the energy of electrons => greater quality of x-rays
3. greater quality = greater penetrability

KVP => QUANTITY => increased kVp = more x-rays produced.
MA = tube current = number of electrons and quantity of x-rays produced.
MA does not affect quality of x-rays produced.

KVP => quality & quantity
MA => quantity
Time => quantity

Purpose of using Grids
1.) Increases contrast
2.) Reduces density
3.) Must use more MAS with a grid.

The choice to use a grid depends on:
1.) KVP used
2.) thickness of part
Parts 10 cm or larger with a KVP higher than 60 produce enough scatter to necessitate the use of a grid.

Air Gap Technique:
This is like a grid. Less scatter on film but less detail also. You can increase SID to help with detail. The greater the gap the less scatter reaches film.
10 inch air gap = 15:1 grid (small body part 10cm)

Need proper balance of density and contrast
Density = overall blackness
Primary controlling factor for density is MAS

To make a visible change in density:
Requires a minimum 30% change in MAS or double
KVP affects density - alters amount and penetrating ability of x-ray beam, so, increasing penetration of x-ray   beam results in more radiation – results into more density on x-ray.

^ KVP = ^ quantity of radiation ^ density

Effect of Changes in KVp is not equal throughout the ranges of KV (low med. & high)
A greater change is required at a higher KVp (greater than 90) compared with a lower      KVP (less than 70)
KVP affects density and other aspects - so, KVP is not primary factor for changes in density.
example:  50 kVp increase by 10 kVp very dark> greater change
                  90 kVp increase 10 kVp slightly darker> smaller change
To maintain density with KVp use the 15% rule:
change KVP by 15% and you will have the same effect on density as doubling MAS
example: 82KVP  change to 94 (15%) is same as 10MAS  change to 20 (double)

Patient thickness
In general, for every 4cm of thickness of patient, you need to adjust MAS by a
factor of 2
example:         thin pt. 18 cm          use 40 MAS
                          thicker pt. 22 cm use 80 MAS to maintain density
(40 X 2 = 80 for the additional 4cm of thickness)

KVP (penetrating power) is the controlling factor for contrast.
High KV => more densities (tones)but fewer differences => low contrast
Low KV => fewer densities (tones) but greater differences => high contrast

KV also affects amount of scatter
High KV => increase in scatter - only adds unwanted density (fog) on film. So,
increasing fog always decreases contrast.
Low KV => decreases scatter - reduces fog, so, increases contrast.

Influencing Factors of Contrast
The most influencing factor for contrast is controlling the amount of scatter.
     less scatter (fog) => increases contrast

1.) Grids - absorption of scatter that exits patient
2.) Collimation - wider field => more scatter => less contrast
                               smaller field => reduces scatter => greater contrast

3.) Air Gap - distance between patient and film - this reduces the amount of scatter getting   to film.
                       So, when amount of scatter is reduced => higher contrast

4.) Body Part - composition, thickness, compactness.

These differences make the range of densities (contrast)
Tissues with higher atomic number absorb more radiation e.g- bone, contrast medium
Tissues with lower atomic number absorb less radiation – e.g -air

Wide range of tissue composition => high contrast
similar types of tissue => low contrast
Thicker tissue => more scatter => less contrast

USING A HIGHER KV FOR A THICKER PART ONLY ADDS TO THE INCREASE IN SCATTER.
This degrades the quality of film. This creates fog which decreases the contrast.
Skinny person -> good contrast
Heavy person -> fog, one density, not a lot of contrast on film

Exposure Modifications:
Pediatric chest = use fast exposure times to stop motion.
Minimum KVP to Penetrate Chest in Children
Premature 50 KV
Infant 55 KV
Child 60 KV

Pediatric patients skull - younger than 6 years old - use 15% less KVP
Adapting exposure factors for children based on exposure factors for adults, excluding chest and skull exams

Age /Exposure factor adaptation
0-5 years ;-25% of MAS that is indicated for adults
6-12 years;-  50% of MAS that is indicated for adults
Casts

Casts can be made of fiberglass or plaster. Fiberglass generally requires no change in exposure factors. Plaster require an increase in exposure, this depends on whether the cast is still wet or whether it is dry.

Dry cast - increase of 2 times the MAS
Wet cast - increase of 3 times the MAS

Pathology: If changes are needed to compensate for diseases it is (generally) best to adjust the KVP because this affects the penetrating ability. (minimun of 15% rule)

Additive conditions - may need to add KVP
    Abdomen - aortic aneurysm, ascites, cirrhosis, hypertrophy of some organs     (splenomegaly)
   Chest - atelectasis, congestive heart failure, malignancy, pleural effusion, pneumonia
   Skeleton - hydrocephalus, metastases, osteochondeoma, Paget's disease (late stage)
   Etc. - abscess, edema, sclerosis

Destructive conditions - may need to decrease KVP
    Abdomen - bowel obstruction, free air
    Chest - emphysema, pneumothorax
     Skeleton - gout, metastases, multiple myeloma, Paget's disease (early stage) osteoporosis
     Etc. - atrophy, emaciation, malnutrition

Soft Tissue:
Objects in soft tissue: if less density is required - MAS should be decreased
Important to know whether contrast should be increased or decreased
     e.g. airway for soft tissue neck - contrast should be increased
            Foreign body - decrease contrast to visualize both bone and soft tissue
Soft tissues that require a decrease in density should use a decreased MAS
Soft tissues that require a higher or lower contrast should use a change in KVP

Quality of x-ray image depends on both the visibility and the sharpness of the recorded detail.
Variables and their effect on the photographic properties of the x-ray image:

Radiographic variables 		Density 	Contrast
		         			
Increase MAS 			increase 	no change
Decrease MAS 			decrease 	no change
increase KVP 			increase 	decrease
decrease KVP 			decrease 	increase
increase SID 			             decrease 	no change
decrease SID 			increase 	no change
increase OID			            decrease 	increase
decrease OID 			increase 	decrease
increase Grid ratio 			decrease 	increase
decrease grid ratio 			increase 	decrease
increase film-screen speed 		increase 	no change
decrease film-screen speed 	decrease 	no change
increase collimation 		decrease 	increase
decrease collimation 		increase 	decrease
increase focal spot size 		no change 	no change
decrease focal spot size 		no change 	no change
increase central ray angle 		decrease 	no change

Using 100 mA(small focal spot) station for extremity has better detail than
Using the same mAs and same kV with higher ma station

Scatter radiation is detrimental to the quality of film and adds unwanted density to the film without adding any patient information.
Scatter decreases contrast and using grids increase the contrast.
Beam restricting devices and grids are used to limit scatter radiation.

Two major factors that affect the amount of scatter radiation - KVP and the volume of tissue irradiated (opening collimation and larger patient).
1.) Using higher KVP produce more scatter as compared with a lower KVP.
2.) Larger field size and the thicker the patient the greater amount of scatter produced from the patient.
You should use appropriate KVP and limit x-ray beam to limit scatter.

Beam restriction serves two purposes - this increases contrast also
1.) limits patients exposure
2.) reduces scatter

Because collimation decreases x-ray field, less scatter is produced within the
patient, so, less scatter and contrast increases.

Exposure factors may need to be changed when increasing collimation. (less density) So, as collimation increases (smaller area), density decreases, as collimation decreases (larger area), density increases.
When collimating a lot you must increase exposure to compensate for loss of density. The KVP should not be increased because it results in decreased contrast. To change density only, MAS should be changed.
It is recommended with a lot of collimation requires an increase in as much as 30% to 50% of the MAS to compensate for the loss of density.
Increases Factor: 	 Effect
Collimation - 	  Patient dose decreases
                          	 scatter decreases 
                           	contrast increases
                           	density decreases
Field Size - 	 	Patient dose increases
                           	scatter increases
                          	contrast decreases
                           	density increases

Purpose of using grids:
1.) increases contrast
2.) reduces density
3.) must use more MAS with a grid

The choice to use a grid depends on:
1.) KVP used
2.) thickness of part

Grids -
Improve contrast, using a grid requires additional MAS resulting in a higher patient dose.
Grids are typically used only when the patient part is 10 cm (adult knee size)or greater and when using more than 60 KVP.

Air gap technique:
This is like using a grid. Less scatter on film but also less detail. You can increase SID to help with the detail. The greater the gap the less scatter.
Using an increases OID is necessary for the air gap tech. However, this decreases quality. To decrease unsharpness and increase detail, you must increase SID.
Accurate measurement of part thickness is critical to the effective use of exposure technique charts.

Two types of technique charts:
      1.) Variable KVP/fixed MAS
      2.) Fixed KVP/variable MAS

1.) Variable KVP/fixed MAS: (Best with small extremities)
KVP increases as part size increases.

Baseline KVP is increased by 2 for every 1cm increase in part thickness, and MAS stays the same.
Accurate measurement of part thickness is critical to use this type of chart.
In general changing the KVP for variations in part thickness is ineffective throughout the entire range of x-rays. This kind of chart is most effective with small extremities such as hands and feet. At low KVP levels, small changes in KVP may be more effective than changing the MAS. Contrast will vary and these
types of charts tend to be less accurate for part size extremes. Adequate penetration of the part is not assured, and the x-ray produced with the use of this type f chart tend to have higher contrast.

2.) Fixed KVP/variable MAS
This uses an Optimal KVP which is the KVP value that is high enough to ensure penetration of the part but not too high to diminish x-ray contrast. Then the MAS is varied to the part thickness.

In general, for every 4-5 cm change in part thickness, the MAS should be adjusted by a factor of 2. (double MAS)

Accurate measurement of part thickness is important but less critical compared with variable KVP. An advantage of using this chart is that patient groups can be formed around 4-5 cm changes. You can use patient thickness groups. It is easier
to use, more consistency on films, standardization of contrast.

General rule for increase in density
(15% increase in KVp = doubling MAS)
To make a visible change in density it requires at least 30% change in MAS .
Changes in KV differ at high and low levels. greater change is needed with 90 KV compared to 50 KV

90 KV and increase 10 KVP => slightly darker
50 KV and increase 10 KVP => very dark
To maintain density with KVP use 15% rule

so 15% rule KVP = doubling MAS maintains density
KVP 82 change to 94 (15%) is same as MAS 10 change to 20 (double)

For each additional 4cm thickness you need to double MAS to maintain density.

15% rule =

          60 = 69 ,

62 =71.3,

65 = 74.75,

68 = 78.2,

70 = 80.5,

72 = 82.8,

75 = 86.25

_End_