## Slide 1: Radiologic Technology
Today & Tomorrow
From Analogue to Digital

## Slide 2: Digital image?

## Slide 3
Analogue to digital conversion
20
20
20
20
20
20
20
20
20
20
20
20
3
5
5
Analogue Image
Digital representation
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
5
20
20
20
20
20
20
20
20
20
20
20
20
7
10
10
10
10
10
7
20
20
20
20
20
20
7
10
10
10
10
10
7
20
20
20
20
20
20
7
20
3
20
3
20
7
20
20
20
20
20
20
20
20
3
20
3
20
20
20
20
20
20
20
20
20
20
3
20
3
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
Any variation represented by Continuous change of shades of grey from white to black
The variation is divided into small areas called pixels and is represented by an abrupt change of numbers

## Slide 4
Digital Image Display
20
20
20
20
20
20
20
20
20
20
20
20
3
5
5
DISPLAY
Digital representation
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
5
20
20
20
20
20
20
20
20
20
20
20
20
7
10
10
10
10
10
7
20
20
20
20
20
20
7
10
10
10
10
10
7
20
20
20
20
20
20
7
20
3
20
3
20
7
20
20
20
20
20
20
20
20
3
20
3
20
20
20
20
20
20
20
20
20
20
3
20
3
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
20
A range of pixel values are assigned a different grey level in increasing or decreasing order
The variation is divided into small areas called pixel and is represented by an abrupt change of numbers

## Slide 5: History – evolution of Medical Imaging
Computerized Tomography (CT)
Magnetic resonance imaging (MRI)
Ultrasound scanning
Nuclear imaging
  Conventional scans
  SPECT
  PET
  PET-CT
  SPECT-CT
Digital Radiography
General Radiography
  X-RAY FILM Direct exposure radiography
  Film Screen Radiography
Body section radiography (Tomography)
Fluoroscopy
Mammography
Contrast radiography
  Conventional Angiography
  Barium studies
  Intravenous Urography
  ……………
Analogue images (from 1895)
Digital images (From 1970s)

## Slide 6: Fuji introduced first digital radiography system known as Computed radiography (CR)
1980 s

## Slide 7: Digital Radiography
Computed Radiography (CR)
Direct Digital Radiography (DDR)

## Slide 8
Digital
Radiography
CR
Barium
Fluorohalide
Posphor
---------
photodiode
Scanned
Projection
Radiography
(SPR)
NaI
Scintilator
------------
Photodiode
Indirect
DR
CSI
Scintilator
-------
a-Si,Thin-film
transistor
Indirect
DR
CsI
-----
Charge
coupled
Device
Direct DR
a-Se
-------
Thin-film
transister

## Slide 10
CR uses an Imaging Plate (IP)

## Slide 11: CR steps
11

## Slide 12
CR Reader
It is a compact mechanico, optico, computer assemble.
R abcd
R abcd
R abcd
R abcd
R abcd
Insert IP cassette here
Fuji CR reader

## Slide 13
All –digital imaging provides following advantages over screen-film radiography
No chemical processing
Post Enhancement of the image information content
No filing and storage of hardcopies
Images can be viewed at several places at a time (networking)

## Slide 14
Flat panel detector for DDR
Available in portable form also

## Slide 15
Indirect DR with CCD
CsI phosphor coupled with Tiled CCD
CCD detector for DR

## Slide 16
DR system with CCD

## Slide 17
Manipulation of Images

## Slide 18
Manipulation of Images

## Slide 19
Conventional Mammography Vs DMT

## Slide 20
Digital Image Management System (DIMS)/PACS

## Slide 21: System integration using DICOM
DICOM
MRI
CT
NM
US
CR
DR
Network
DICOM – Digital Imaging & Communication In Medicine
Digital Imaging & Communication in Medicine
Notes: DICOM – Digital Imaging & Communication In Medicine

## Slide 22
Advantage of Digital with PACS
Examination
scheduled
Patient
registered
Folder
prepared
Escort Pt. to
X-ray room
Position
patient
Load
cassette
Perform
examination
Process
film
Reload
cassette
Hang
films
Image
QC
To
Radiologist
Films to
folder & file
Escort
Pt. out
Repeat
Network

## Slide 23
WHY turn to DIGITAL?
More than 60% of manpower of radiology department is involved in plain film radiology. Can be reduced
Digital imaging has potential to improve efficiency within radiology department.
Improved working, both intra & inter department.
Dose reduction is strongly associated with digital radiography.
Digitalization of radiograph (through CR/DR) acts as a medium for effective :
  Data manipulation
  Data transfer ( PACS, telemedicine)
  Data storage (space saving)
If no hard copy is required great saving on films & chemicals
Fashionable, moving ahead with changing technologies.
Inevitable ? With telemedicine growing up .

## Slide 24: Thank YOU!
V.G.Wimalasena
Principal
Sri Lanka school of Radiography
Website :- http://scrsl.weebly.com